## Instructions
RDNA Analysis Tool
HOW TO USE THE RDNA ANALYSIS TOOL |  |  | Imported Name | Threshold (>)
1) Define targets and thresholds: In the first table on the right, enter the assigned target name and internal control name exactly as they appear in the imported qPCR data. Then enter the Cq threshold used to define negative wells. 2) Specify the undetected value term: Enter the exact text your qPCR instrument uses for wells with no detected Cq value, as shown in the imported qPCR data. Note: Examples may include Undetermined, UND, or similar instrument-specific terms. 3) Input standard names and concentrations: In the second table on the right, enter the standard names exactly as they appear in the imported data, along with their corresponding concentrations in pg/mL. Standards should be listed in order from highest concentration to lowest concentration. The tool can accomodate up to 7 standards. If only 6 standards were run, leave the 7th standard row blank. Note: Standard names must match the imported data exactly. 4) Input extraction control names: In the third table on the right, enter the names used for extraction controls and the expected concentration for each control. Space is provided for the required negative template control and up to five positive extraction controls. 5) Import raw data: In the "Raw Data Import" tab, paste the following columns from the exported qPCR data file: (1) Well Position (e.g., A1 to H12), (2) Sample/Standard Name, (3) Target (e.g., BHK, IAC), and (4) Cq value. Note: Column headers may vary depending on the qPCR instrument and software used, but the data types must match. 6) Review data: In the "Data Review" tab, review the plate map to confirm that sample names, target assignments, and Cq values were imported correctly and match the original qPCR plate layout. 7) Review the standard curve: In the "Analysis" tab, examine the generated standard curve and confirm that slope, efficiency, and curve fit meet acceptance criteria. 8) Evaluate extraction controls: In the "Analysis" tab, examine the calculated percent recoveries for the extraction controls and confirm that all controls meet acceptance criteria. Generally, acceptable recovery rates should be between 50% - 150% for positive extraction controls. The Cq value of the negative extraction control should be undetermined or later than the Cq value of standard 6. 9) Review Results and Flags: In the "Analysis" tab, review calculated concentrations and identify any samples that may require attention. Samples with average Cq ≥ threshold are considered negative and may yield unreliable or low concentration estimates. Samples with one or more replicates marked as “INVALID” indicate failed amplification criteria and INVALID replicates should be excluded from analysis. Samples reported as “Not Detected” indicate no measurable amplification and should be interpreted as below the assay detection limit. Samples with concentrations extrapolated below the lowest standard or above the highest standard should also be interpreted with caution. NOTE: All names entered in the"Instructions" tab must EXACTLY match those in the "Raw Data Import" tab. Any mismatch will cause the analysis to fail. NOTE: If any values fail to update or appear with a strikethrough line, go to the "Formulas" header tab and under "Calculation Options", make sure it is set to "Automatic" |  | Target
Internal Control
Undetected Value
|  |  | Imported Name | Concentration (pg/mL)
Standard 1
Standard 2
Standard 3
Standard 4
Standard 5
Standard 6
Standard 7 (Optional)
Blank
|  |  | Name | Expected conc (pg/mL)
Negative Extraction Control
Positive Extraction Control 1
Positive Extraction Control 2
Positive Extraction Control 3
Positive Extraction Control 4
Positive Extraction Control 5

## Raw Data Import
Well Position | Sample | Target | Cq
[Import qPCR Data]

## Data Review
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | Sample
0
0
| Result | INVALID | INVALID | INVALID | INVALID | INVALID | INVALID | INVALID | INVALID | INVALID | INVALID | INVALID | INVALID
B | Sample
0
0
| Result | INVALID | INVALID | INVALID | INVALID | INVALID | INVALID | INVALID | INVALID | INVALID | INVALID | INVALID | INVALID
C | Sample
0
0
| Result | INVALID | INVALID | INVALID | INVALID | INVALID | INVALID | INVALID | INVALID | INVALID | INVALID | INVALID | INVALID
D | Sample
0
0
| Result | INVALID | INVALID | INVALID | INVALID | INVALID | INVALID | INVALID | INVALID | INVALID | INVALID | INVALID | INVALID
E | Sample
0
0
| Result | INVALID | INVALID | INVALID | INVALID | INVALID | INVALID | INVALID | INVALID | INVALID | INVALID | INVALID | INVALID
F | Sample
0
0
| Result | INVALID | INVALID | INVALID | INVALID | INVALID | INVALID | INVALID | INVALID | INVALID | INVALID | INVALID | INVALID
G | Sample
0
0
| Result | INVALID | INVALID | INVALID | INVALID | INVALID | INVALID | INVALID | INVALID | INVALID | INVALID | INVALID | INVALID
H | Sample
0
0
| Result | INVALID | INVALID | INVALID | INVALID | INVALID | INVALID | INVALID | INVALID | INVALID | INVALID | INVALID | INVALID

## Analysis
Standards
Cocnentration (pg/mL) | Standard | 1 | 2 | 3 | AVG | SD | Max-Min
0 | 0 |  |  |  | #N/A |  |  |  | #N/A | #N/A
0 | 0 |  |  |  | #N/A |  |  |  | #N/A | #N/A
0 | 0 |  |  |  | #N/A |  |  |  | #N/A | #N/A
0 | 0 |  |  |  | #N/A |  |  |  | #N/A | #N/A
0 | 0 |  |  |  | #N/A |  |  |  | #N/A | #N/A
0 | 0 |  |  |  | #N/A |  |  |  | #N/A | #N/A
0 | 0 |  |  |  | #N/A
0 | 0 |  |  |  | #N/A |  |  |  | #N/A | #N/A
Slope |  | #DIV/0!
Intercept |  | #DIV/0!
R2 |  | #DIV/0!
Efficiency |  | #DIV/0!
Extraction Controls
Expected conc (pg/mL) | Name | 1 | 2 | 3 | AVG | SD | Max-Min | Extrapolated Conc. (pg/mL) | % RECOVERY
0 | 0 | [7 empty] | N/A
0 | 0 | [7 empty] | N/A
0 | 0 | [7 empty] | N/A
0 | 0 | [7 empty] | N/A
0 | 0 | [7 empty] | N/A
0 | 0 | [7 empty] | N/A
Samples
ID | Name | 1 | 2 | 3 | AVG | SD | Max-Min | Extrapolated Conc. (pg/mL)
1 | #VALUE!
2 |  | #VALUE!
3 |  | #VALUE!
4 |  | #VALUE!
5 |  | #VALUE!
6 |  | #VALUE!
7 |  | #VALUE!
8 |  | #VALUE!
9 |  | #VALUE!
10 |  | #VALUE!
11 |  | #VALUE!
12 |  | #VALUE!
13 |  | #VALUE!
14 |  | #VALUE!
15 |  | #VALUE!
16 |  | #VALUE!
17 |  | #VALUE!
18 |  | #VALUE!
19 |  | #VALUE!
20 |  | #VALUE!
21 |  | #VALUE!
22 |  | #VALUE!
23 |  | #VALUE!
24 |  | #VALUE!