## Instructions
NA-ATP Analysis Tool
HOW TO USE THE NA-ATP ANALYSIS TOOL
1) Enter Standard Data: In the section titled “STANDARD CURVE,” copy and paste the raw luminescence values (before background subtraction) for your blank and ATP standards. Enter replicate values horizontally (duplicate or triplicate). Do not subtract background prior to entry. Confirm that the ATP (Picomoles) column matches the concentrations used in your assay and adjust if necessary. Do not include the 0 pmol blank in regression calculations. 2) Review Standard Precision: After entering standard data, verify the automatically calculated Average, SD, and CV%. For reliable curve performance, standard 1 CV% values should typically be ≤10% (lower concentrations may show higher variability). Confirm that the R² value from the log–log regression is ≥0.95 for optimal performance. 3) Enter Sample Plate Map: In the “SAMPLES – Plate Map” section, replace placeholder names (e.g., Sample 1) with your sample identifiers. The template assumes unique samples are arranged from top to bottom (rows A–H) and replicates are arranged left to right. Ensure the layout matches your actual plate configuration before entering raw data. 4) Enter Sample Raw Data: In the “SAMPLES – Raw Data” section, paste raw luminescence values exactly as exported from the plate reader (before background subtraction). Ensure values align correctly with the plate map. Do not modify formula cells. 5) Review Final Calculated Data: In the “FINAL DATA” section, review the average luminescence and CV% values for each sample; CV% should ideally be ≤ 10% for most samples (values with luminescence near blank may have elevated CV% VALUES). Review calculated ATP (picomoles) for each sample. ATP concentrations are determined by interpolating BG-corrected averages against the log–log regression curve generated from the standards. Samples with signals at or below background will report as 0 pmol. 6) Quality Check Before Reporting: Confirm acceptable regression performance (R² ≥0.95), reasonable slope/intercept values, and appropriate standard precision before interpreting sample results. If regression quality is poor, verify data entry and inspect standards for outliers before repeating the assay.

## Analysis - 2 replicates
STANDARD CURVE:
| 1 | 2 | Average | SD | CV% |  |  | ATP (Picomoles) |  | BG Corrected Average
Standard 1
Standard 2
Standard 3
Standard 4
Standard 5
Standard 6
Standard 7
Blank | [7 empty] | 0
[8 empty] | Slope |  | #DIV/0!
[8 empty] | Intercept |  | #DIV/0!
[8 empty] | R2 |  | #DIV/0!
SAMPLES - Plate Map:
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A | Sample 1 |  | Sample 9 |  | Sample 17 |  | Sample 25 |  | Sample 33
B | Sample 2 |  | Sample 10 |  | Sample 18 |  | Sample 26 |  | Sample 34
C | Sample 3 |  | Sample 11 |  | Sample 19 |  | Sample 27 |  | Sample 35
D | Sample 4 |  | Sample 12 |  | Sample 20 |  | Sample 28 |  | Sample 36
E | Sample 5 |  | Sample 13 |  | Sample 21 |  | Sample 29 |  | Sample 37
F | Sample 6 |  | Sample 14 |  | Sample 22 |  | Sample 30 |  | Sample 38
G | Sample 7 |  | Sample 15 |  | Sample 23 |  | Sample 31 |  | Sample 39
H | Sample 8 |  | Sample 16 |  | Sample 24 |  | Sample 32 |  | Sample 40
Replace names with your sample names.
SAMPLES - Raw Data:
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
A
B
C
D
E
F
G
H
FINAL DATA:
Sample | Average |  | CV% |  | BG Corrected Average |  | ATP (Picomoles)
Sample 1 | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0!
Sample 2 | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0!
Sample 3 | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0!
Sample 4 | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0!
Sample 5 | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0!
Sample 6 | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0!
Sample 7 | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0!
Sample 8 | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0!
Sample 9 | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0!
Sample 10 | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0!
Sample 11 | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0!
Sample 12 | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0!
Sample 13 | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0!
Sample 14 | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0!
Sample 15 | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0!
Sample 16 | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0!
Sample 17 | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0!
Sample 18 | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0!
Sample 19 | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0!
Sample 20 | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0!
Sample 21 | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0!
Sample 22 | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0!
Sample 23 | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0!
Sample 24 | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0!
Sample 25 | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0!
Sample 26 | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0!
Sample 27 | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0!
Sample 28 | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0!
Sample 29 | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0!
Sample 30 | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0!
Sample 31 | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0!
Sample 32 | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0!
Sample 33 | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0!
Sample 34 | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0!
Sample 35 | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0!
Sample 36 | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0!
Sample 37 | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0!
Sample 38 | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0!
Sample 39 | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0!
Sample 40 | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0!

## Analysis - 3 replicates
STANDARD CURVE:
| 1 | 2 | 3 | Average | SD | CV% |  | ATP (Picomoles) |  | BG Corrected Average
Standard 1
Standard 2
Standard 3
Standard 4
Standard 5
Standard 6
Standard 7
Blank | [7 empty] | 0
[8 empty] | Slope |  | #DIV/0!
[8 empty] | Intercept |  | #DIV/0!
[8 empty] | R2 |  | #DIV/0!
SAMPLES - Plate Map:
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
A | Sample 1 |  |  | Sample 9 |  |  | Sample 17
B | Sample 2 |  |  | Sample 10 |  |  | Sample 18
C | Sample 3 |  |  | Sample 11 |  |  | Sample 19
D | Sample 4 |  |  | Sample 12 |  |  | Sample 20
E | Sample 5 |  |  | Sample 13 |  |  | Sample 21
F | Sample 6 |  |  | Sample 14 |  |  | Sample 22
G | Sample 7 |  |  | Sample 15 |  |  | Sample 23
H | Sample 8 |  |  | Sample 16 |  |  | Sample 24
Replace names with your sample names
SAMPLES - Raw Data:
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
A
B
C
D
E
F
G
H
FINAL DATA:
Sample | Average |  | CV% |  | BG Corrected Average |  | ATP (Picomoles)
Sample 1 | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0!
Sample 2 | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0!
Sample 3 | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0!
Sample 4 | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0!
Sample 5 | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0!
Sample 6 | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0!
Sample 7 | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0!
Sample 8 | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0!
Sample 9 | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0!
Sample 10 | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0!
Sample 11 | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0!
Sample 12 | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0!
Sample 13 | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0!
Sample 14 | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0!
Sample 15 | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0!
Sample 16 | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0!
Sample 17 | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0!
Sample 18 | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0!
Sample 19 | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0!
Sample 20 | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0!
Sample 21 | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0!
Sample 22 | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0!
Sample 23 | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0!
Sample 24 | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0!