## Instructions
FQA-DS/FQA-RNA Analysis Tool
HOW TO USE THE FQA-DS/FQA-RNA ANALYSIS TOOL
1) Select Sample Type: In the "Raw Data" tab, under Sample Type, select dsDNA or RNA from the drop down based on your applicable sample type. 2) Enter Reference Data: In the "Raw Data" tab, copy and paste the raw fluorescence values (before background subtraction) for your Positive Reference and Negative Reference standards in the corresponding wells. Enter replicate values horizontally (duplicate or triplicate). Do not subtract background prior to entry. 3) Enter Sample Information: In the “Raw Data” tab, input sample identifiers under "Sample Name" column and insert volume (in uL) and dilution factor (-Fold) for each sample in the corresponding "Sample Volume" and "Sample Dilution" columns. If running undiluted samples, leave sample dilution for that sample blank or input "1". If volume and/or dilution wells are blank for a given sample, calculations automatically assume a volume of 50 μL and dilution fold of 1 (i.e., undiluted sample). 4) Enter Sample Raw Data: In the “Raw Data” tab, paste raw fluorescence values exactly as exported from the plate reader (before background subtraction). Enter replicate values horizontally (duplicate or triplicate). Do not modify formula cells. 5) Review Precision: After entering reference and sample data, verify the automatically calculated Average and CV%. For reliable curve performance, positive reference CV% value should typically be ≤10% (the negative reference may show higher variability). CV% values for samples should typically be ≤15%. Samples with fluorescence values near background may have elevated CV% values. 6) Review Final Calculated Data: In the "Analysis" tab, DNA or RNA mass (pg) is determined by interpolating the blank corrected average fluorescence values against the two-point calibration curve generated from the positive and negative reference standards. The calculated mass is then adjusted for the sample dilution factor. The QC Check column indicates whether a sample passes quality control based on its CV value; samples that exceed the acceptable CV limit are flagged and should be rerun. If the field is blank, the sample passes QC. Note: DNA or RNA concentration (pg/uL) is calculated by dividing the dilution-adjusted mass (pg) by the sample volume (uL). Note: Samples with average fluorescence values below the background signal are automatically assigned a mass of 0 pg.

## Raw Data
Sample Type
dsDNA
Sample Name | Sample Volume (uL) | Sample Dilution (-Fold) | 1 | 2 | 3 | Average | CV% | Blank Corrected Signal
DNA Reference (1 ng/uL) | 50 | 1 |  |  |  | #N/A | #N/A | #N/A
Negative Reference (0 ng/uL) | 50 | 1 |  |  |  | #N/A | #N/A | #N/A
[6 empty] | #N/A | #N/A | #N/A
[6 empty] | #N/A | #N/A | #N/A
[6 empty] | #N/A | #N/A | #N/A
[6 empty] | #N/A | #N/A | #N/A
[6 empty] | #N/A | #N/A | #N/A
[6 empty] | #N/A | #N/A | #N/A
[6 empty] | #N/A | #N/A | #N/A
[6 empty] | #N/A | #N/A | #N/A
[6 empty] | #N/A | #N/A | #N/A
[6 empty] | #N/A | #N/A | #N/A
[6 empty] | #N/A | #N/A | #N/A
[6 empty] | #N/A | #N/A | #N/A
[6 empty] | #N/A | #N/A | #N/A
[6 empty] | #N/A | #N/A | #N/A
[6 empty] | #N/A | #N/A | #N/A
[6 empty] | #N/A | #N/A | #N/A
[6 empty] | #N/A | #N/A | #N/A
[6 empty] | #N/A | #N/A | #N/A
[6 empty] | #N/A | #N/A | #N/A
[6 empty] | #N/A | #N/A | #N/A
[6 empty] | #N/A | #N/A | #N/A
[6 empty] | #N/A | #N/A | #N/A
[6 empty] | #N/A | #N/A | #N/A
[6 empty] | #N/A | #N/A | #N/A
[6 empty] | #N/A | #N/A | #N/A
[6 empty] | #N/A | #N/A | #N/A
[6 empty] | #N/A | #N/A | #N/A
[6 empty] | #N/A | #N/A | #N/A
[6 empty] | #N/A | #N/A | #N/A
[6 empty] | #N/A | #N/A | #N/A
[6 empty] | #N/A | #N/A | #N/A
[6 empty] | #N/A | #N/A | #N/A
[6 empty] | #N/A | #N/A | #N/A
[6 empty] | #N/A | #N/A | #N/A
[6 empty] | #N/A | #N/A | #N/A
[6 empty] | #N/A | #N/A | #N/A
[6 empty] | #N/A | #N/A | #N/A
[6 empty] | #N/A | #N/A | #N/A
[6 empty] | #N/A | #N/A | #N/A
[6 empty] | #N/A | #N/A | #N/A

## Analysis
FQA-DS Analysis Tool
Input Data Location: Raw Data Tab
Standard Curve: Single point reference
Average CV% | #DIV/0!
Max CV% | 0%
Calibration Reference
| Calculated DNA (pg) | DNA Concentration (pg/uL)
DNA Reference (1 ng/uL) | 50000 | 1000
Negative Reference (0 ng/uL) | 0 | 0
Slope = | #N/A
Intercept = | #N/A
R2 = | #N/A
Samples
Dilution Adjusted
Sample Name | Calculated DNA (pg) | DNA Concentration (pg/uL) | QC Check
0 | #N/A | #N/A
0 | #N/A | #N/A
0 | #N/A | #N/A
0 | #N/A | #N/A
0 | #N/A | #N/A
0 | #N/A | #N/A
0 | #N/A | #N/A
0 | #N/A | #N/A
0 | #N/A | #N/A
0 | #N/A | #N/A
0 | #N/A | #N/A
0 | #N/A | #N/A
0 | #N/A | #N/A
0 | #N/A | #N/A
0 | #N/A | #N/A
0 | #N/A | #N/A
0 | #N/A | #N/A
0 | #N/A | #N/A
0 | #N/A | #N/A
0 | #N/A | #N/A
0 | #N/A | #N/A
0 | #N/A | #N/A
0 | #N/A | #N/A
0 | #N/A | #N/A
0 | #N/A | #N/A
0 | #N/A | #N/A
0 | #N/A | #N/A
0 | #N/A | #N/A
0 | #N/A | #N/A
0 | #N/A | #N/A
0 | #N/A | #N/A
0 | #N/A | #N/A
0 | #N/A | #N/A
0 | #N/A | #N/A
0 | #N/A | #N/A
0 | #N/A | #N/A
0 | #N/A | #N/A
0 | #N/A | #N/A
0 | #N/A | #N/A
0 | #N/A | #N/A