## CoV-PosSet-S1
sample ID | Sex | Age | Date of test | COVID-19 test result | COVID-19 test type | Date of blood Draw | delayed days | IgG S1RBD PLATE cut off 15 units | IgM SRBD PLATE cut off 2 units | CG-COV-IgG Test Line | CG-COV-IgM Test Line | Normal sample | sample ID | Age (years) | Sex (M/F) | BMI | Race
PS302 | F | 67 | 2020-04-02 | Positive | PCR | 2020-05-03 | 33 | 48.7055 | 540.2967 | - | + |  | SN204 | 46 | M | 28.73 | AA
PS303 | M | 76 | 2020-04-02 | Positive | PCR | 2020-05-03 | 33 | 28.2061 | 329.692 | - | - |  | SN205 | 22 | F | 21.7 | H
PS304 | M | 85 | 2020-04-02 | Positive | PCR | 2020-05-03 | 33 | 121.1259 | 233.5165 | - | - |  | SN206 | 18 | M | 26.2 | H
PS305 | F | 76 | 2020-04-02 | Positive | PCR | 2020-05-03 | 33 | 254.8396 | 670.033 | - | - |  | SN207 | 47 | M | 35.2 | C
PS308 | M | 50 | 2020-04-01 | Positive | PCR | 2020-05-03 | 34 | 188.8092 | 259.8269 | - | - |  | SN208 | 25 | F | 22.3 | AA
PS310 | F | 76 | 2020-04-01 | Positive | PCR | 2020-05-03 | 34 | 232.8046 | 564.5675 | - | - |  | SN209 | 65 | M | 36 | AA
PS313 | F | 69 | 2020-04-01 | Positive | PCR | 2020-05-03 | 34 | 209.4402 | 63.4312 | + | - |  | SN210 | 28 | M | 20.6 | AA
PS314 | F | 64 | 2020-04-02 | Positive | PCR | 2020-05-03 | 33 | 92.0445 | 149.8532 | + | - |  | SN211 | 63 | M | 19.2 | H
PS326 | M | 58 | 2020-04-01 | Positive | PCR | 2020-05-03 | 34 | 7.954 | 197.3871 | - | - |  | SN212 | 38.7 | F | 31.8 | AA/H
PS333 | M | 54 | 2020-04-01 | Positive | PCR | 2020-05-03 | 34 | 16.0886 | 765.4427 | - | - |  | SN213 | 36.5 | M | UNKNOWN | AA, H, C
PS346 | F | 80 | 2020-04-01 | Positive | PCR | 2020-05-03 | 34 | 174.3738 | 80.2915 | - | ++
PS347 | F | 83 | 2020-04-20 | Positive | PCR | 2020-04-25 | 8 | 14.4572 | 802.9605 | - | - |  | “Normal - serum”: These are samples from patients who do not have COVID-19 (taken before the outbreak). You can purchase these as:
PS348 | F | 76 | 2020-04-27 | Positive | PCR | 2020-04-25 | 1 | 11.5242 | 0 | - | + |  |  | Separate aliquots of 100 uL or 500 uL (cat # NEGSMPL)
PS351 | M | 67 | 2020-04-24 | Positive | PCR | 2020-04-25 | 4 | 11.9541 | 84.0831 | - | -
PS357 | F | 74 | 2020-04-17 | Positive | PCR | 2020-05-17 | 33 | 0.59021 | 49.5859 | + | -
PS358 | F | 63 | 2020-04-17 | Positive | PCR | 2020-05-17 | 33 | 1.2021 | 155.566 | + | -
PS359 | M | 61 | 2020-04-17 | Positive | PCR | 2020-05-17 | 33 | 18.4897 | 1322.2003 | ++ | -
PS602 | F | 30 | 2020-08-18 | Positive | PCR | 2020-08-26 | 9 | 51.3733 | 74.3042 | - | -
PS603 | F | 21 | 2020-07-31 | Positive | Antibody | 2020-08-26 | 30 | 30.396 | 52.1939 | - | -
PS616 | F | 59 | 2020-08-12 | Positive | PCR | 2020-09-09 | 35 | 189.8993 | 479.0144 | + | +
“COVID-19 positive” (CoV-PosSet): These are serum and EDTA-treated plasma samples from COVID-19 patients. You can purchase these as separate aliquots of 100 uL or 500 uL (cat # CoV-Pos). They have no guarantee that the samples will be detected using your platform.
IgG S1RBD: IgG antibody to the spike receptor binding domain (using indirect ELISA)
IgM S1RBD: IgM antibody to the spike receptor binding domain (using indirect ELISA)
CG-COV-IgG Test Line: presence (+) or absence (-) of detectable IgG antibodies to the nucleocapsid protein (using lateral flow technology). Stronger band intensities are represented with more “+”
CG-COV-IgM Test Line: presence (+) or absence (-) of detectable IgM antibodies to the nucleocapsid protein (using lateral flow technology). Stronger band intensities are represented with more “+”
Serum & plasma columns (L - O): Number listed indicates the number of aliquots of that size that we have in stock
"Cut-off units": RayBiotech analyzed many healthy and COVID-19 patients. Based off biostatistical analyses, samples with units below the cut-off value were healthy and samples with units above the cut-off value were infected with COVID-19.
Therefore, a higher number in column "I" generally reflects more COVID-19 antibodies

## CoV-PosSet-S2
sample ID | Sex | Age | Date of test | COVID-19 test result | COVID-19 test type | Date of blood Draw | delayed days | IgG S1RBD PLATE cut off 15 units | IgM SRBD PLATE cut off 2 units | CG-COV-IgG Test Line | CG-COV-IgM Test Line | Normal sample | sample ID | Age (years) | Sex (M/F) | BMI | Race
PS301 | M | 88 | 2020-04-02 | Positive | PCR | 2020-05-03 | 33 | 77.3417 | 502.4148 | - | - |  | SN204 | 46 | M | 28.73 | AA
PS305 | F | 76 | 2020-04-02 | Positive | PCR | 2020-05-03 | 33 | 254.8396 | 670.033 | - | - |  | SN205 | 22 | F | 21.7 | H
PS308 | M | 50 | 2020-04-01 | Positive | PCR | 2020-05-03 | 34 | 188.8092 | 259.8269 | - | - |  | SN206 | 18 | M | 26.2 | H
PS310 | F | 76 | 2020-04-01 | Positive | PCR | 2020-05-03 | 34 | 232.8046 | 564.5675 | - | - |  | SN207 | 47 | M | 35.2 | C
PS326 | M | 58 | 2020-04-01 | Positive | PCR | 2020-05-03 | 34 | 7.954 | 197.3871 | - | - |  | SN208 | 25 | F | 22.3 | AA
PS329 | F | 92 | 2020-04-02 | Positive | PCR | 2020-05-03 | 33 | 692.2967 | 426.7561 | + | - |  | SN209 | 65 | M | 36 | AA
PS330 | F | 60 | 2020-04-02 | Positive | PCR | 2020-05-03 | 33 | 213.1226 | 304.0627 | + | + |  | SN210 | 28 | M | 20.6 | AA
PS331 | F | 78 | 2020-04-01 | Positive | PCR | 2020-05-03 | 34 | 517.0955 | 606.7167 | + | + |  | SN211 | 63 | M | 19.2 | H
PS332 | F | 56 | 2020-04-01 | Positive | PCR | 2020-05-03 | 34 | 159.9458 | 199.003 | - | - |  | SN212 | 38.7 | F | 31.8 | AA/H
PS352 | M | 70 | 2020-04-24 | Positive | PCR | 2020-04-25 | 4 | 0.05124 | 4.3952 | - | - |  | SN213 | 36.5 | M | UNKNOWN | AA, H, C
PS353 | M | 70 | 2020-04-17 | Positive | PCR | 2020-05-17 | 33 | 6.8544 | 789.0659 | - | -
PS601 | M | 52 | 2020-08-18 | Positive | Antibody | 2020-08-26 | 37 | 23.3003 | 53.0509 | - | - |  | “Normal - serum”: These are samples from patients who do not have COVID-19 (taken before the outbreak). You can purchase these as:
PS602 | F | 30 | 2020-08-18 | Positive | PCR | 2020-08-26 | 9 | 51.3733 | 74.3042 | - | - |  |  | Separate aliquots of 100 uL or 500 uL (cat # NEGSMPL)
PS603 | F | 21 | 2020-07-31 | Positive | Antibody | 2020-08-26 | 30 | 30.396 | 52.1939 | - | -
PS604 | M | 35 | 2020-07-27 | Positive | PCR/antibody | 2020-08-28 | 32 | 86.2766 | 41.894 | - | +
PS607 | M | 44 | 2020-08-12 | Positive | antigen | 2020-09-03 | 25 | 120.9047 | 474.1723 | + | +
PS611 | F | 49 | 2020-08-13 | Positive | PCR | 2020-09-04 | 18 | 61.4401 | 98.0521 | + | +
PS619 | F | 18 | 2020-08-30 | Positive | PCR | 2020-09-11 | 18 | 187.4535 | 195.1683 | - | -
PS620 | M | 62 | 2020-08-21 | Positive | PCR | 2020-09-17 | 34 | 153.7575 | 195.797 | + | +
PS623 | F | 21 | 2020-08-31 | Positive | PCR | 2020-09-18 | 20 | 93.0381 | 192.4803 | + | +
“COVID-19 positive” (CoV-PosSet): These are serum and EDTA-treated plasma samples from COVID-19 patients. You can purchase these as separate aliquots of 100 uL or 500 uL (cat # CoV-Pos). They have no guarantee that the samples will be detected using your platform.
IgG S1RBD: IgG antibody to the spike receptor binding domain (using indirect ELISA)
IgM S1RBD: IgM antibody to the spike receptor binding domain (using indirect ELISA)
CG-COV-IgG Test Line: presence (+) or absence (-) of detectable IgG antibodies to the nucleocapsid protein (using lateral flow technology). Stronger band intensities are represented with more “+”
CG-COV-IgM Test Line: presence (+) or absence (-) of detectable IgM antibodies to the nucleocapsid protein (using lateral flow technology). Stronger band intensities are represented with more “+”
Serum & plasma columns (L - O): Number listed indicates the number of aliquots of that size that we have in stock
"Cut-off units": RayBiotech analyzed many healthy and COVID-19 patients. Based off biostatistical analyses, samples with units below the cut-off value were healthy and samples with units above the cut-off value were infected with COVID-19.
Therefore, a higher number in column "I" generally reflects more COVID-19 antibodies

## CoV-PosSet-S3
sample ID | Sex | Age | Date of test | COVID-19 test result | COVID-19 test type | Date of blood Draw | delayed days | IgG S1RBD PLATE cut off 15 units | IgM SRBD PLATE cut off 2 units | CG-COV-IgG Test Line | CG-COV-IgM Test Line | Normal sample | sample ID | Age (years) | Sex (M/F) | BMI | Race
PS301 | M | 88 | 2020-04-02 | Positive | PCR | 2020-05-03 | 33 | 77.3417 | 502.4148 | - | - |  | SN204 | 46 | M | 28.73 | AA
PS302 | F | 67 | 2020-04-02 | Positive | PCR | 2020-05-03 | 33 | 48.7055 | 540.2967 | - | + |  | SN205 | 22 | F | 21.7 | H
PS313 | F | 69 | 2020-04-01 | Positive | PCR | 2020-05-03 | 34 | 209.4402 | 63.4312 | + | - |  | SN206 | 18 | M | 26.2 | H
PS314 | F | 64 | 2020-04-02 | Positive | PCR | 2020-05-03 | 33 | 92.0445 | 149.8532 | + | - |  | SN207 | 47 | M | 35.2 | C
PS364 | F | 74 | 2020-04-17 | Positive | PCR | 2020-05-17 | 33 | 234.3488 | 998.1668 | ++ | + |  | SN208 | 25 | F | 22.3 | AA
PS365 | M | 76 | 2020-04-17 | Positive | PCR | 2020-05-17 | 33 | 7.2765 | 195.5409 | + | - |  | SN209 | 65 | M | 36 | AA
PS366 | F | 64 | 2020-04-17 | Positive | PCR | 2020-05-17 | 33 | 13.5218 | 472.0459 | ++ | - |  | SN210 | 28 | M | 20.6 | AA
PS375 | F | 67 | 2020-04-17 | Positive | PCR | 2020-05-17 | 33 | 126.8001 | 1225.367 | + | - |  | SN211 | 63 | M | 19.2 | H
PS376 | M | 67 | 2020-04-17 | Positive | PCR | 2020-05-17 | 33 | 7.039 | 113.9594 | + | - |  | SN212 | 38.7 | F | 31.8 | AA/H
PS377 | M | 75 | 2020-04-17 | Positive | PCR | 2020-05-17 | 33 | 22.2539 | 605.0285 | + | - |  | SN213 | 36.5 | M | UNKNOWN | AA, H, C
PS378 | M | 67 | 2020-04-17 | Positive | PCR | 2020-05-17 | 33 | 5.7926 | 81.6289 | - | -
PS379 | M | 75 | 2020-04-17 | Positive | PCR | 2020-05-17 | 33 | 45.8809 | 679.9631 | + | - |  | “Normal - serum”: These are samples from patients who do not have COVID-19 (taken before the outbreak). You can purchase these as:
PS623 | F | 21 | 2020-08-31 | Positive | PCR | 2020-09-18 | 20 | 93.0381 | 192.4803 | + | + |  |  | Separate aliquots of 100 uL or 500 uL (cat # NEGSMPL)
PS631 | M | 23 | 2020-08-31 | Positive | PCR | 2020-09-25 | 64 | 283.8358 | 182.729 | + | +
PS641 | F | 45 | 2020-09-24 | Positive | PCR | 2020-10-02 | 10 | 3.3681 | 13.1736 | - | +
PS642 | M | 66 | 2020-09-21 | Positive | PCR | 2020-10-02 | 17 | 19.2209 | 48.2279 | - | +
PS643 | F | 63 | 2020-09-21 | Positive | PCR | 2020-10-02 | 21 | 29.6335 | 97.1984 | - | +
PS644 | F | 29 | 2020-09-04 | Positive | PCR & antigen | 2020-10-02 | 28 | 8.291 | 1.242 | - | +
PS645 | F | 30 | 2020-09-13 | Positive | antigen | 2020-10-02 | 22 | 7.4557 | 12.6181 | - | +
PS646 | F | 15 | 2020-09-23 | Positive | antigen | 2020-10-02 | 10 | 3.3537 | 6.3337 | - | -
“COVID-19 positive” (CoV-PosSet): These are serum and EDTA-treated plasma samples from COVID-19 patients. You can purchase these as separate aliquots of 100 uL or 500 uL (cat # CoV-Pos). They have no guarantee that the samples will be detected using your platform.
IgG S1RBD: IgG antibody to the spike receptor binding domain (using indirect ELISA)
IgM S1RBD: IgM antibody to the spike receptor binding domain (using indirect ELISA)
CG-COV-IgG Test Line: presence (+) or absence (-) of detectable IgG antibodies to the nucleocapsid protein (using lateral flow technology). Stronger band intensities are represented with more “+”
CG-COV-IgM Test Line: presence (+) or absence (-) of detectable IgM antibodies to the nucleocapsid protein (using lateral flow technology). Stronger band intensities are represented with more “+”
Serum & plasma columns (L - O): Number listed indicates the number of aliquots of that size that we have in stock
"Cut-off units": RayBiotech analyzed many healthy and COVID-19 patients. Based off biostatistical analyses, samples with units below the cut-off value were healthy and samples with units above the cut-off value were infected with COVID-19.
Therefore, a higher number in column "I" generally reflects more COVID-19 antibodies

## CoV-PosSet-P1
sample ID | Sex | Age | Date of test | COVID-19 test result | COVID-19 test type | Date of blood Draw | delayed days | IgG S1RBD PLATE cut off 15 units | IgM SRBD PLATE cut off 2 units | CG-COV-IgG Test Line | CG-COV-IgM Test Line | Normal sample | sample ID | Age (years) | Sex (M/F) | BMI | Race
PS302 | F | 67 | 2020-04-02 | Positive | PCR | 2020-05-03 | 33 | 48.7055 | 540.2967 | - | + |  | PN1 | 59 | M | 23.9 | AA
PS303 | M | 76 | 2020-04-02 | Positive | PCR | 2020-05-03 | 33 | 28.2061 | 329.692 | - | - |  | PN2 | 54 | M | 22.24 | H
PS304 | M | 85 | 2020-04-02 | Positive | PCR | 2020-05-03 | 33 | 121.1259 | 233.5165 | - | - |  | PN3 | 59 | M | 25.09 | AA
PS305 | F | 76 | 2020-04-02 | Positive | PCR | 2020-05-03 | 33 | 254.8396 | 670.033 | - | - |  | PN4 | 54 | M | 33.47 | AA
PS308 | M | 50 | 2020-04-01 | Positive | PCR | 2020-05-03 | 34 | 188.8092 | 259.8269 | - | - |  | PN5 | 57 | M | 34.87 | AA
PS310 | F | 76 | 2020-04-01 | Positive | PCR | 2020-05-03 | 34 | 232.8046 | 564.5675 | - | - |  | PN6 | 22 | M | 21.61 | AA
PS313 | F | 69 | 2020-04-01 | Positive | PCR | 2020-05-03 | 34 | 209.4402 | 63.4312 | + | - |  | PN7 | 23 | M | 18.31 | AA
PS314 | F | 64 | 2020-04-02 | Positive | PCR | 2020-05-03 | 33 | 92.0445 | 149.8532 | + | - |  | PN8 | 22 | F | 24.94 | H
PS326 | M | 58 | 2020-04-01 | Positive | PCR | 2020-05-03 | 34 | 7.954 | 197.3871 | - | - |  | PN9 | 57 | M | 23.96 | H
PS333 | M | 54 | 2020-04-01 | Positive | PCR | 2020-05-03 | 34 | 16.0886 | 765.4427 | - | - |  | PN10 | 60 | M | 22.3 | AA
PS346 | F | 80 | 2020-04-01 | Positive | PCR | 2020-05-03 | 34 | 174.3738 | 80.2915 | - | ++
PS347 | F | 83 | 2020-04-20 | Positive | PCR | 2020-04-25 | 8 | 14.4572 | 802.9605 | - | - |  | “Normal - plasma”: These are samples from patients who do not have COVID-19 (taken before the outbreak). You can purchase these as:
PS348 | F | 76 | 2020-04-27 | Positive | PCR | 2020-04-25 | 1 | 11.5242 | 0 | - | + |  |  | Separate aliquots of 100 uL or 500 uL (cat # NEGSMPL)
PS351 | M | 67 | 2020-04-24 | Positive | PCR | 2020-04-25 | 4 | 11.9541 | 84.0831 | - | -
PS357 | F | 74 | 2020-04-17 | Positive | PCR | 2020-05-17 | 33 | 0.59021 | 49.5859 | + | -
PS358 | F | 63 | 2020-04-17 | Positive | PCR | 2020-05-17 | 33 | 1.2021 | 155.566 | + | -
PS359 | M | 61 | 2020-04-17 | Positive | PCR | 2020-05-17 | 33 | 18.4897 | 1322.2003 | ++ | -
PS602 | F | 30 | 2020-08-18 | Positive | PCR | 2020-08-26 | 9 | 51.3733 | 74.3042 | - | -
PS603 | F | 21 | 2020-07-31 | Positive | Antibody | 2020-08-26 | 30 | 30.396 | 52.1939 | - | -
PS616 | F | 59 | 2020-08-12 | Positive | PCR | 2020-09-09 | 35 | 189.8993 | 479.0144 | + | +
“COVID-19 positive” (CoV-PosSet): These are serum and EDTA-treated plasma samples from COVID-19 patients. You can purchase these as separate aliquots of 100 uL or 500 uL (cat # CoV-Pos). They have no guarantee that the samples will be detected using your platform.
IgG S1RBD: IgG antibody to the spike receptor binding domain (using indirect ELISA)
IgM S1RBD: IgM antibody to the spike receptor binding domain (using indirect ELISA)
CG-COV-IgG Test Line: presence (+) or absence (-) of detectable IgG antibodies to the nucleocapsid protein (using lateral flow technology). Stronger band intensities are represented with more “+”
CG-COV-IgM Test Line: presence (+) or absence (-) of detectable IgM antibodies to the nucleocapsid protein (using lateral flow technology). Stronger band intensities are represented with more “+”
Serum & plasma columns (L - O): Number listed indicates the number of aliquots of that size that we have in stock
"Cut-off units": RayBiotech analyzed many healthy and COVID-19 patients. Based off biostatistical analyses, samples with units below the cut-off value were healthy and samples with units above the cut-off value were infected with COVID-19.
Therefore, a higher number in column "I" generally reflects more COVID-19 antibodies

## CoV-PosSet-P2
sample ID | Sex | Age | Date of test | COVID-19 test result | COVID-19 test type | Date of blood Draw | delayed days | IgG S1RBD PLATE cut off 15 units | IgM SRBD PLATE cut off 2 units | CG-COV-IgG Test Line | CG-COV-IgM Test Line | Normal sample | sample ID | Age (years) | Sex (M/F) | BMI | Race
PS301 | M | 88 | 2020-04-02 | Positive | PCR | 2020-05-03 | 33 | 77.3417 | 502.4148 | - | - |  | PN11 | 51 | M | 32.84 | H
PS305 | F | 76 | 2020-04-02 | Positive | PCR | 2020-05-03 | 33 | 254.8396 | 670.033 | - | - |  | PN12 | 56 | M | 22.43 | AA
PS308 | M | 50 | 2020-04-01 | Positive | PCR | 2020-05-03 | 34 | 188.8092 | 259.8269 | - | - |  | PN13 | 62 | M | 26.88 | AA
PS310 | F | 76 | 2020-04-01 | Positive | PCR | 2020-05-03 | 34 | 232.8046 | 564.5675 | - | - |  | PN14 | 58 | F | 22.5 | H
PS326 | M | 58 | 2020-04-01 | Positive | PCR | 2020-05-03 | 34 | 7.954 | 197.3871 | - | - |  | PN15 | 42 | M | 21.2 | C
PS329 | F | 92 | 2020-04-02 | Positive | PCR | 2020-05-03 | 33 | 692.2967 | 426.7561 | + | - |  | PN16 | 31 | M | 25 | AA
PS330 | F | 60 | 2020-04-02 | Positive | PCR | 2020-05-03 | 33 | 213.1226 | 304.0627 | + | + |  | PN17 | 23 | M | 20.2 | AA
PS331 | F | 78 | 2020-04-01 | Positive | PCR | 2020-05-03 | 34 | 517.0955 | 606.7167 | + | + |  | PN18 | 42 | M | 27.5 | AA
PS332 | F | 56 | 2020-04-01 | Positive | PCR | 2020-05-03 | 34 | 159.9458 | 199.003 | - | - |  | PN19 | 38 | M | 22.9 | AA
PS352 | M | 70 | 2020-04-24 | Positive | PCR | 2020-04-25 | 4 | 0.05124 | 4.3952 | - | - |  | PN20 | 25 | M | 27.8 | AA
PS353 | M | 70 | 2020-04-17 | Positive | PCR | 2020-05-17 | 33 | 6.8544 | 789.0659 | - | -
PS601 | M | 52 | 2020-08-18 | Positive | Antibody | 2020-08-26 | 37 | 23.3003 | 53.0509 | - | - |  | “Normal - serum”: These are samples from patients who do not have COVID-19 (taken before the outbreak). You can purchase these as:
PS602 | F | 30 | 2020-08-18 | Positive | PCR | 2020-08-26 | 9 | 51.3733 | 74.3042 | - | - |  |  | Separate aliquots of 100 uL or 500 uL (cat # NEGSMPL)
PS603 | F | 21 | 2020-07-31 | Positive | Antibody | 2020-08-26 | 30 | 30.396 | 52.1939 | - | -
PS604 | M | 35 | 2020-07-27 | Positive | PCR/antibody | 2020-08-28 | 32 | 86.2766 | 41.894 | - | +
PS607 | M | 44 | 2020-08-12 | Positive | antigen | 2020-09-03 | 25 | 120.9047 | 474.1723 | + | +
PS611 | F | 49 | 2020-08-13 | Positive | PCR | 2020-09-04 | 18 | 61.4401 | 98.0521 | + | +
PS619 | F | 18 | 2020-08-30 | Positive | PCR | 2020-09-11 | 18 | 187.4535 | 195.1683 | - | -
PS620 | M | 62 | 2020-08-21 | Positive | PCR | 2020-09-17 | 34 | 153.7575 | 195.797 | + | +
PS623 | F | 21 | 2020-08-31 | Positive | PCR | 2020-09-18 | 20 | 93.0381 | 192.4803 | + | +
“COVID-19 positive” (CoV-PosSet): These are serum and EDTA-treated plasma samples from COVID-19 patients. You can purchase these as separate aliquots of 100 uL or 500 uL (cat # CoV-Pos). They have no guarantee that the samples will be detected using your platform.
IgG S1RBD: IgG antibody to the spike receptor binding domain (using indirect ELISA)
IgM S1RBD: IgM antibody to the spike receptor binding domain (using indirect ELISA)
CG-COV-IgG Test Line: presence (+) or absence (-) of detectable IgG antibodies to the nucleocapsid protein (using lateral flow technology). Stronger band intensities are represented with more “+”
CG-COV-IgM Test Line: presence (+) or absence (-) of detectable IgM antibodies to the nucleocapsid protein (using lateral flow technology). Stronger band intensities are represented with more “+”
Serum & plasma columns (L - O): Number listed indicates the number of aliquots of that size that we have in stock
"Cut-off units": RayBiotech analyzed many healthy and COVID-19 patients. Based off biostatistical analyses, samples with units below the cut-off value were healthy and samples with units above the cut-off value were infected with COVID-19.
Therefore, a higher number in column "I" generally reflects more COVID-19 antibodies

## CoV-PosSet-P3
sample ID | Sex | Age | Date of test | COVID-19 test result | COVID-19 test type | Date of blood Draw | delayed days | IgG S1RBD PLATE cut off 15 units | IgM SRBD PLATE cut off 2 units | CG-COV-IgG Test Line | CG-COV-IgM Test Line | Normal sample | sample ID | Age (years) | Sex (M/F) | BMI | Race
PS301 | M | 88 | 2020-04-02 | Positive | PCR | 2020-05-03 | 33 | 77.3417 | 502.4148 | - | - |  | PN21 | 37 | M | 25.37 | AA
PS302 | F | 67 | 2020-04-02 | Positive | PCR | 2020-05-03 | 33 | 48.7055 | 540.2967 | - | + |  | PN22 | 39 | M | 26.6 | H
PS313 | F | 69 | 2020-04-01 | Positive | PCR | 2020-05-03 | 34 | 209.4402 | 63.4312 | + | - |  | PN23 | 46 | M | 33.1 | AA
PS314 | F | 64 | 2020-04-02 | Positive | PCR | 2020-05-03 | 33 | 92.0445 | 149.8532 | + | - |  | PN24 | 59 | M | 25.2 | H
PS364 | F | 74 | 2020-04-17 | Positive | PCR | 2020-05-17 | 33 | 234.3488 | 998.1668 | ++ | + |  | PN25 | 59 | M | 23 | H
PS365 | M | 76 | 2020-04-17 | Positive | PCR | 2020-05-17 | 33 | 7.2765 | 195.5409 | + | - |  | PN26 | 39 | M | 24 | H
PS366 | F | 64 | 2020-04-17 | Positive | PCR | 2020-05-17 | 33 | 13.5218 | 472.0459 | ++ | - |  | PN27 | 26 | F | 43.9 | AA
PS375 | F | 67 | 2020-04-17 | Positive | PCR | 2020-05-17 | 33 | 126.8001 | 1225.367 | + | - |  | PN28 | 20 | F | 25.8 | C
PS376 | M | 67 | 2020-04-17 | Positive | PCR | 2020-05-17 | 33 | 7.039 | 113.9594 | + | - |  | PN29 | 30 | F | 23.9 | AA
PS377 | M | 75 | 2020-04-17 | Positive | PCR | 2020-05-17 | 33 | 22.2539 | 605.0285 | + | - |  | PN30 | 37 | F | 33.7 | H
PS378 | M | 67 | 2020-04-17 | Positive | PCR | 2020-05-17 | 33 | 5.7926 | 81.6289 | - | -
PS379 | M | 75 | 2020-04-17 | Positive | PCR | 2020-05-17 | 33 | 45.8809 | 679.9631 | + | - |  | “Normal - serum”: These are samples from patients who do not have COVID-19 (taken before the outbreak). You can purchase these as:
PS623 | F | 21 | 2020-08-31 | Positive | PCR | 2020-09-18 | 20 | 93.0381 | 192.4803 | + | + |  |  | Separate aliquots of 100 uL or 500 uL (cat # NEGSMPL)
PS631 | M | 23 | 2020-08-31 | Positive | PCR | 2020-09-25 | 64 | 283.8358 | 182.729 | + | +
PS641 | F | 45 | 2020-09-24 | Positive | PCR | 2020-10-02 | 10 | 3.3681 | 13.1736 | - | +
PS642 | M | 66 | 2020-09-21 | Positive | PCR | 2020-10-02 | 17 | 19.2209 | 48.2279 | - | +
PS643 | F | 63 | 2020-09-21 | Positive | PCR | 2020-10-02 | 21 | 29.6335 | 97.1984 | - | +
PS644 | F | 29 | 2020-09-04 | Positive | PCR & antigen | 2020-10-02 | 28 | 8.291 | 1.242 | - | +
PS645 | F | 30 | 2020-09-13 | Positive | antigen | 2020-10-02 | 22 | 7.4557 | 12.6181 | - | +
PS646 | F | 15 | 2020-09-23 | Positive | antigen | 2020-10-02 | 10 | 3.3537 | 6.3337 | - | -
“COVID-19 positive” (CoV-PosSet): These are serum and EDTA-treated plasma samples from COVID-19 patients. You can purchase these as separate aliquots of 100 uL or 500 uL (cat # CoV-Pos). They have no guarantee that the samples will be detected using your platform.
IgG S1RBD: IgG antibody to the spike receptor binding domain (using indirect ELISA)
IgM S1RBD: IgM antibody to the spike receptor binding domain (using indirect ELISA)
CG-COV-IgG Test Line: presence (+) or absence (-) of detectable IgG antibodies to the nucleocapsid protein (using lateral flow technology). Stronger band intensities are represented with more “+”
CG-COV-IgM Test Line: presence (+) or absence (-) of detectable IgM antibodies to the nucleocapsid protein (using lateral flow technology). Stronger band intensities are represented with more “+”
Serum & plasma columns (L - O): Number listed indicates the number of aliquots of that size that we have in stock
"Cut-off units": RayBiotech analyzed many healthy and COVID-19 patients. Based off biostatistical analyses, samples with units below the cut-off value were healthy and samples with units above the cut-off value were infected with COVID-19.
Therefore, a higher number in column "I" generally reflects more COVID-19 antibodies